Course:	01.423  Agricultural Mechanics Technology III

Unit 5:	Electric Motors and Controls

Lesson 3:	Selecting Proper Control Devices for Electric Motors

Georgia Performance Standards: 	AG-AMII-5 (i-k)

Academic Standards: 	ELA9RC2, ELA12LSV1, ELA9RL5, ELA10W3, MM1A3, MA1P1, MA1P3, SCSh2, SCSh3, SCSh4, SP1, SPS5, SPS7

Objectives:

1.	Select motor control for various agricultural related jobs.

2.	Maintain motor controls.

3.	Interpret a motor control schematic diagram.

Teaching Time:	5 hours

Grades: 9-12

Essential Question: How do you select proper control devices for electric motors?

Unit Understandings, Themes, and Concepts:

Students will learn how motors are controlled.

Primary Learning Goals: Students will be able to select and maintain motor controls for various agricultural related jobs and interpret a motor control schematic diagram.

Students with disabilities: For students with disabilities, the instructor should refer to the individual student's IEP to insure that the accommodations specified in the IEP are being provided within the classroom setting. Instructors should familiarize themselves with the provisions of Behavior Intervention Plans that may be part of a student's IEP. Frequent consultation with a student's special education instructor will be beneficial in providing appropriate differentiation within any given instructional activity or requirement.

Assessment Method/Type:

____ Constructed Response		____ Peer Assessment

_X__ Combined Methods		____ Selected Response

____ Informal Checks			____ Self Assessment

References:

Fundamentals of Motor Control, Basic Principles and Language of AC motor control:  Square D,   Groupe Schneider

Electric Motors: Selection, Protection, Drives. AAVIM. Winterville, GA.

National Electric Code Book,  Latest edition

Johnson, Donald M.; Harper, Joe; Lawver, David E. & Buriak, Philip. Mechanical Technology in Agriculture. Interstate Publishers, Inc. Danville, IL. ISBN: 0-8134-3017-8.

Materials and Equipment:

Electrician tool set

Multi-test meter

Electric motor

Electric motor controller

Different types of motor protection devices

PowerPoints:

Web Resources:

Georgia Performance Standards:

AG-AMIII-5:  Students will demonstrate skills necessary for safe operations of electric motors and controls that are used in the agricultural industry.

- Select motor control for various agricultural related jobs.

  - Maintain motor controls.

  - Interpret a motor control schematic diagram.

Academic Standards:

ELA9RC2 The student participates in discussions related to curricular learning in all subject areas.

ELA12LSV1 The student participates in student-to-teacher, student-to-student, and group verbal interactions.

ELA9RL5 The student understands and acquires new vocabulary and uses it correctly in reading and writing.

ELA10W3 The student uses research and technology to support writing.

MM1A3. The student solves simple equations.

MA1P1. The student solves problems (using appropriate technology).

MA1P3. The student communicates mathematically.

SCSh2 The student uses standard safety practices for all classroom laboratory and field investigations.

SCSh3 The student identifies and investigates problems scientifically.

SCSh4 The student uses tools and instruments for observing, measuring, and manipulating scientific equipment and materials.

SP1 The student analyzes the relationships between force, mass, gravity, and the motion of objects.

SPS5 The student compares and contrasts the phases of matter as they relate to atomic and molecular motion.

SPS7 The student relates transformations and flow of energy within a system.

Teaching Procedure

Introduction and Mental Set

Have the students name some reasons that it is important to be able to control an electric motor. What are some jobs that electric motors do that would require them to have a controller?  Ask students if the location of the motor has any effect on the type of controller selected?  Lead students into a discussion of the factors to consider when selecting  proper control devices for electric motors.

Discussion

1.	Discuss with the  students that the selection of controls depends on the motor and the machine it is to operate. Give students the six basic factors that influence the selection of a controller:

A.	Electrical Service

- Type of service available

-	Single phase alternating current

-	Three phase alternating current

-	Direct current

- Voltage that is available

- The number of phases and frequency

B.	Motor

- Motor must match the electrical service

- Motor must be sized correctly for the machine load (horsepower)

- Motor speed and torque

- Service factor of motor

- Time rating (duty)

Continuous duty permits indefinite operation at rated load

Intermittent duty rating based on fixed operating time after which the motor must be allowed to cool.  (5, 15, 30, 60, minutes)

- To select the proper overload protection for the motor (full load current rating)

C.	Operating characteristics of controller

- The fundamental job of a controller is to start and stop the motor.

- Protects the motor, machine, and the operator

- Supplementary functions

-	Reversing the direction of the motor

-	Jogging or inching the motor (Frequent starting and stopping of a motor for short period of time, motor running in one direction is momentarily)

-	Plugging reconnected to reverse the direction of the motor

-	Operation at variable speeds

-	Operates at reduced levels of current and motor torque

D.	Environment

- Controller enclosure serves to provide protection for operating personnel

- Controllers must be protected from a variety of environmental condition which may include:

-	water, rain, snow, or sleet

-	dirt or non-combustible dust

-	cutting oil, coolants, or lubricants

E.	National Codes and Standards

- Motor control equipment must be designed to meet the provisions of the National Electric Code (NEC).

-	NEC Article 430 gives requirements for industrial control devices.

-	NEC Article 500 gives the requirements for hazardous locations.

-	Standards established by the National Electrical Manufacturers Association (NEMA) assist users in the proper selection of control equipment.

-	Underwriters Laboratory (UL) tests for conformity to national codes and standards.

F.	International Electrotechnical Commission (IEC)

- Founded in 1906

- Responsible for international standards in the electrical and electronic industry.

- It is composed of 41 national committees

- Issues recommendations on electrical terms, ratings, test methods, and dimensional requirements.

2.	Discuss with students the different types of Enclosures being manufactured.

A.	NEMA Type 1 B General Purpose

B.	NEMA Type 3 B Dust tight and Rain tight

C.	NEMA Type 3R -  Rainproof and Sleet Resistant

D.	NEMA Type 4 B Watertight

E.	NEMA Type 4X B Watertight and Corrosion-Resistant

F.	NEMA Type 7 B Hazardous Locations Class 1

G.	NEMA Type 9 B Hazardous Locations Class 11

H.	NEMA Type 12 B Industrial Use

I.	NEMA Type 13 - Oil tight and Dust tight

3. 	Discuss with students the proper procedures to follow when servicing the electric motor and controls.

A.	Motors and controls should be serviced once a year.

B.	Non electrical checks (Before working on electric motors and controls ALWAYS turn the electricity off.)

- Clean

- Check bearing wear

- Check shaft for free rotation

- Lubricate

- Check drive mechanism

C.	Check all electrical connections in the controller and motor making sure they are all tight and all wires are in good shape.

D.	Check the overload protection to make sure it is still operating properly.

E.	Check the voltage to make sure the correct amount is getting to the motor.

F.	With motor in operation, check the amperage being used by the motor, both starting and running without a load and with a load to see if the motor is operating as designed.

4.	Give students handout with a schematic diagram of an electric motor controller.

A.	Give students a list of symbols and what they stand for in electrical control schematics.

B.	Discuss the way in which the motor control operates, by showing the path of electricity it as goes through the controller into the motor.

C.	Demonstrate to students the proper connection that should be made for the controller to operate the motor.

Summary

What are the six basic factors that influence the selection of a controller?

What are the different types of enclosures and their use?

What are the procedures to follow when servicing electric motors and controls?

Review the schematic diagram of an electric motor controller.

Evaluation

Written exam

Give students a problem in which a farmer has to put in a  3-hp electric motor at their home or their SAE site to be used on a feed bin to auger feed to his swine finishing barn.

Using the motor plate, have the students select the proper controller to protect and operate the motor.

In the agricultural laboratory, have the students demonstrate the proper procedures for servicing and electric motor and controls.

Individual Learning Activity

Lesson:	Selecting Proper Control Devices for Electric Motors

Assignment:	Choose one of the topics below and research it. Write a report on your findings that answers the question or explains the concept and shows why it is relevant to your life.

1.	Select motor control for various agricultural related jobs.

2.	Maintain motor controls.

3.	Interpret a motor control schematic diagram.

Minimum Requirements:

1. Paper must be typed in 12 point font and at least one page in length. The paper may be double-spaced.

2. At least two credible references must be properly cited.

3. All work must be original. No plagiarism! Any use of

another’s ideas without giving credit will result in a zero.

4. Papers will be graded on content (amount of good information, accuracy, etc.) and mechanics (grammar, spelling, and punctuation.)

Due Date:

Points/Grade Available:

Individual Learning Activity Rubric

| Content - offers current information on the topic chosen, thoroughly covers each aspect of the question, and demonstrates understanding and mastery of the lesson. The paper should include information and issues of state and local importance. | 35 pts. |
| --- | --- |
| Critical Analysis - logical process of analyzing and reporting information that examines and explains the topic selected. The paper should go beyond simply listing facts and must include why the concept is relevant to the student’s life. | 25 pts. |
| Organization- The paper should have an orderly structure that demonstrates a logical flow of ideas. | 15 pts. |
| Mechanics- spelling, grammar, punctuation, font size, double spacing, citation, etc. Essentially, the paper should meet all specifications and be executed following rules of proper written English. | 15 pts. |

Group Learning Activity

Lesson: 	Selecting Proper Control Devices for Electric Motors

Assignment: 	Choose one of the topics below and research it. With your group, prepare a presentation to teach the class your concept.

1.	Select motor control for various agricultural related jobs.

2.	Maintain motor controls.

3.	Interpret a motor control schematic diagram.

Your presentation should include the following:

- A lesson plan outlining exactly what your group will teach and how the information will be taught

- A Power Point of at least twelve slides

- Notes containing the information the class will be responsible for (these can be printed and given to the class, written on the board, or part of the Power Point). A copy of the notes will be turned in to the instructor.

- Some type of interactive activity for the class (game, problem solving activity, interactive model, etc.)

- Your group must also prepare an assessment for the class. This assessment can be written or oral, but should show the instructor that the class understands and has retained the material being taught.

Due Date:

Points/Grade Available:

All work must be original. No plagiarism! Any use of

another’s ideas without giving credit will result in a zero.

Group Learning Activity Rubric

| Lesson Plan – The group submits a thorough, detailed lesson plan highlighting the content and organization of their lesson. | 10 pts. |
| --- | --- |
| PowerPoint – The group presents a Power Point of at least twelve slides that contains information and pictures vital to the lesson with additional information or examples for enhancement. | 20 pts. |
| Interactive Activity – Some type of interactive activity is used to help teach the lesson. The activity should contribute to the mastery of content and involve the entire class in some way. | 15 pts. |
| Assessment – A fair, thorough assessment is prepared and administered based on the information presented to the class. Poor grades on the assessment by a few members of the class are excusable, but if the entire class has difficulty, the points awarded in this category may be lowered at the discretion of the instructor. | 15 pts. |
| Content – The group should cover the concept (within reason) in entirety. The group may study actual lesson plans to help decide what should be emphasized. | 25 pts. |
| Overall Effect – The group is prepared, enthusiastic, and interesting, and the lesson flows smoothly. | 15 pts. |

Presentation Learning Activity

Lesson:	Selecting Proper Control Devices for Electric Motors

Assignment:	Choose one of the topics below, research it, and prepare a presentation that answers the question or explains the concept and shows why it is relevant to your life.

1.	Select motor control for various agricultural related jobs.

2.	Maintain motor controls.

3.	Interpret a motor control schematic diagram.

Minimum Requirements:

Oral Report Option

1.   Write a paper on one of the topics and orally present your work to the class.

2.   Paper may be double-spaced and should be at least one page in length, resulting in a two to five minute presentation.

3.   At least two references must be properly cited.

4.   The presentation of the report will be graded secondary

to the content of the paper.

PowerPoint Option

- Presentation should be at least ten slides in length

- Presentation should include at least four photos.

- Presentation should be two to five minutes in length.

- Grammar and spelling will be graded by the same standards as any other written assignment.

- At least two references must be properly cited.

Poster Option:

- Prepare a poster that answers/explains one of the topics. You will present your poster to the class.

- Your poster should include both text and graphics that help communicate your research.

- At least two sources of information should be properly cited on the back of the poster.

- Neatness and appearance of the poster will be graded.

- Poster presentation should last two to five minutes.

Due Date:

Points/Grade Available:

For all presentations: All work must be original. No plagiarism! Any use of another’s work or ideas without giving proper credit will result in a zero.

Presentation Learning Activity Rubric

| Content- offers current information on the topic chosen, thoroughly covers each aspect of the question, and demonstrates understanding and mastery of the lesson. The presentation should include information and issues of state and local importance. | 40 pts. |
| --- | --- |
| Critical Analysis/Organization – The presentation shows a logical process of analyzing and reporting information that examines and explains the topic selected. The presentation should go beyond simply listing facts and must include why the concept is relevant to the student’s life. | 20 pts. |
| Presentation – The student makes a genuine effort to present, not just read the material. The student should present with confidence using techniques like eye contact and voice inflexion to make his or her point. Although content takes precedence over presentation, the experience of successfully presenting in front of a class is part of the basis of this assignment. | 25 pts. |
| Mechanics- spelling, grammar, punctuation, font size, double spacing, citation, etc. Essentially, the presentation should meet all guidelines set forth and should be executed in proper written English. For the poster, this includes neatness and appearance. | 15 pts. |

Essential Question:

How do you select proper control devices for electric motors?

Vocabulary

Motor

Enclosure