Course:	02.461	Physical Science Applications in Agriculture

Unit 4:	Agricultural Structure Systems and Environmental Control

Lesson 2:	Loads and Loading

QCC:	 175, 180, 188

Objectives:

1. 	Describe the types of loads structural members must withstand.

2. 	Describe how environmental conditions influence loads.

3. 	Calculate load strengths of various building materials.

4. 	Compare uniform load to concentrated load strengths of various building materials.

5. 	Test the load strengths of various building materials.

Teaching Time:

3 hours

References:

Buriak, Philip & Edward W. Osborne. Physical Science Applications in Agriculture. 	Interstate Publishers, Inc. Danville, IL. 1996.

Johnson, Donald M., Joe Harper, David E. Lawver and Philip Buriak. Mechanical 	Technology in Agriculture. Interstate Publishers, Inc. Danville, IL. 	1998.

Materials and Equipment:

Listed in text under experiment titles

Teaching Procedure

Introduction and Mental Set

Buildings for storage, housing and working facilities are needed in every community.  Before constructing a building it is necessary to understand what forces and loads to which the building will be subjected.  Understanding these forces will aid us in constructing a building that is both functional and withstanding of its environmental pressures.

Show pictures or slides of buildings in the community that have collapsed as well as buildings that have stood for a long time.  Ask students why one building is better than another.

Place an empty coke can on the floor and stand on it.  It will not be crush.  Now dent the sides a little.  Stand on it again.  The can will now be crushed.  Why?

(Answer):  The structural integrity of the can has been compromised and is now susceptible to outside forces.

Discussion

1.	What factors influence building design?

A.	Loads

- Live Loads:  include anything brought into a structure-grain, hay, livestock, tables etc.

- Snow Loads:  vary by climate zone and roof slope.  Steeper roof sheds snow better.

- Wind Loads:  act perpendicularly to the building=s surface.  Varies with velocity, height and slope of building, orientation of the building with respect to wind direction. (Fig.13-12 Physical Science Applications in Agriculture)

- Dead Load:  the weight of the materials used to construct the structure.  (Fig.  13-11 Physical Science Applications in Agriculture)

B.	Forces (Stress)

- Tension:  when a pair of forces acts opposite to each other, tending to stretch and pull apart a material.  (the stressed surface is perpendicular to the applied force)

- Compression:  push the material together, shortening the material and producing compressive stresses within the material.  (the stressed surface is perpendicular to the applied force)

- Shear:  the stressed surface is parallel to the applied force.

- Torsion:  twisting stress.

C.	Loads are the weight or stresses that a building will come under.

D.	Determining loads is the first step in good structural design or effective maintenance.

2.	Give slide show with different building designs found in the community and analyze the structures.  Give an evaluation of each based on established criteria.

3.	How can design be modified to balance or control stresses imposed by loads?  Explained in Physical Science Applications in Agriculture, pages 176-178.

4.	To reinforce the class discussion, conduct the following experiments in the text book, Physical Applications in Agriculture.

A.	Experiment 1.	Force: Tension, Compression, Shear, and Torsion

B.	Experiment 2.	Loads and Loading: Designing a Free Span Structure

C.	Experiment 3.	Wind Loads

Summary

The need for agriculture structures makes it is necessary to properly construct them.  Before constructing a building it is necessary to understand what makes a building last.  This study and analysis of structural designs are the first steps in developing a structure.

Ask students:

How safe does a structure need to be?  Are there risks to human life, livestock, or property?

How dependable are the structural materials?  Can flaws be easily seen and corrected?

What is the expected life of a structure?

Can the loads and stresses the building will be exposed to be accurately determined or predicted?

Evaluation

Written test

Laboratory activities